Viscosity project summary\_Section 2\_ML

1275cP

Table of content

[**Standard 1275 cP 2**](#_8xnuptfrj1ky)

[Set: Half 2](#_xafaau544ubc)

[Set: Half (unorderedT) 9](#_v6wm54tjblf9)

[Set: 1 16](#_d5lzkpqrr8z0)

[Set: 1 (unorderedT) 23](#_4hh6en4xej05)

[Set: 1 (ver4) 30](#_qyecci9yssqj)

[Set: 1 (sampling: distributed) 34](#_vty5nb9gsrb2)

# 

# Standard 1275 cP

Machine learning segment

## Set: Half

Observation of trends

Observation: GPR - scaling: Multiplication

The percentage error for this iteration is relatively consistent, ranging from -7 to -8%. A lot of repetitions in the sets of parameters generated are observed. The first 2 trials have the same sets of parameters and the rest of the trials share another set of parameters.

The most common set of parameters is: (AR, DR, DA, DD)

15.3, 7.0, 2.6, 4.5

Observation: GPR - scaling: Without

Repetitions of sets of parameters are also observed. The percentage error ranges from -3 to -7%, thus not as consistent as the trials with GPR - scaling: Multiplication.

The most common set of parameters is: (AR, DR, DA, DD)

11.1, 13.7, 4.1, 5.5

Observation: LIN - scaling: Multiplication

For this iteration, not as many repetitions are seen in the sets of parameters generated. Thus, the percentage errors are more distributed, ranging from -3 to -17%, with an average of -7%.

The most common set of parameters is: (AR, DR, DA, DD)

11.5, 7.3, 4.2, 3.6


Observation: LIN - scaling: Without

There are a lot of repetitions in the parameters generated, the parameters remained the same from the fourth trial onwards. The average is around -8%.


The most common set of parameters is: (AR, DR, DA, DD)

15.3, 7.0, 2.6, 4.5


GPR scaling: multiplication



GPR scaling: without



LIN scaling: multiplication



LIN scaling: without










Diagram comparing human-driven and ML test trials (1275 cP, set:half)   


















## Set: Half (unorderedT)

Observation of trends

Observation for LIN - scaling: none

Some variations in the parameters generated but most trials share the same set of parameters: 15.3, 7.0, 2.6, 4.5, with a percentage error of -6 to -7%.

Observation for LIN - scaling: multiply

Some variations between the 2 sets of parameters: 11.5, 7.3, 4.2, 3.6 (percentage error around -3 to -4%) and 15.3, 7.0, 2.6, 4.5.

Observations for GPR - scaling: none

Very slight variations in parameters, most test trials share the same parameters: 11.1, 13.7, 4.1, 5.5.


Observations for GPR - scaling: multiply

Some variations between the 2 sets of parameters: 11.5, 7.3, 4.2, 3.6 (percentage error around -3 to -4%) and 15.3, 7.0, 2.6, 4.5.


## 

## 


Diagram comparing human-driven and ML test trials (1275 cP, set:half, unorderedT)
















## 

## Set: 1

Observation of trends

Observation for all iterations:

The parameters generated are more focused on quick transfer times than percentage error. Even though the transfer process will take around 160 seconds as derived from the standard calibration documents, most transfers only took between 90 to 140 seconds, with an average of 100 seconds.


Suggestion for improvement:

When I was doing the test trials, it was discovered that the first reading acquired will not be accurate. This is because the pipette tip has not been used and it is harder to aspirate and dispense the liquid as compared to one that is already “rinsed” with the standard. Since this is only discovered in the later part of this project, I did not manage to make amendments to the csv when I am still finding the standard calibrations. Thus, by using the first reading as the only point of reference, it might feed the system with the wrong information.


It is also worth noting that most trials have a percentage error of around -8% which is around the same error percentage that is caused by the “clean pipette error”.

One can try to use the second set of data collected instead. Although I’m not sure if it will work because even the trials with the half set of data as the reference points did not give very good parameters, but maybe the first data is prioritised (?) by the algorithm.


GPR scaling: multiplication



GPR scaling: without



LIN scaling: multiplication



LIN scaling: without









Diagram comparing human-driven and ML test trials (1275 cP, set:1)




















## Set: 1 (unorderedT)

Observation of trends

Observation for LIN - scaling: none

Mostly between these 2 sets of parameters: 13.8, 18.6, 4.3, 2.9 (with a percentage error of around -8 to -11%) and 20.9, 18.6, 3.1, 2.8 (with a percentage error of around -18 to -20%)

Observation for LIN - scaling: multiply and GPR - scaling: none

Most test trials use this set of parameters: 20.9, 18.6, 3.1, 2.8 and 26.4, 24.3, 0.1, 2.9, very inaccurate sets of parameters.

Observation for GPR - scaling: multiply


It has a blend of all 3 sets of parameters that are commonly used in set: 1 test trials.

13.8, 18.6, 4.3, 2.9 & 20.9, 18.6, 3.1, 2.8 & 26.4, 24.3, 0.1, 2.9


## 

## 


Diagram comparing human-driven and ML test trials (1275 cP, set:1, unorderedT)


















## Set: 1 (ver4)

Observation of trends


Observation 1: LIN - scaling: multiply

The parameters suggested with slow time penalization clearly prioritise fast transfer duration a lot more than the previous experiment with no time penalization (141s < 245s -> none). However, the percentage error is much higher than the preferred -2 to 2%. It falls between -11 to -12%.

Observation 2: LIN - scaling: none

The parameters suggested are much slower than the test trials with slow transfer penalization, however, the percentage error is slightly lower than LIN - scaling: multiply, around -7 to -8% on average.

Percentage error against iteration diagram:










Diagram comparing human-driven and ML test trials (1275 cP, set:1, ver4)









## Set: 1 (sampling: distributed)

Observation of trends

**3 April**

**Scaling: none, Order: unorderedT**

The test trials done using the updated algorithm provide a good variation of parameters that are much more distributed than when the sampling method is set to “random". Although the percentage error generated is still quite a distance from the preferred range of -2 to 2 %, it is clear that the algorithm is trying different types of parameters, such as parameters with both fast aspiration and dispense rates, with slow aspiration and fast dispense rates, and slow aspiration and dispense rate. (the dispense rate is rarely faster aspiration rate)


For this updated algorithm, one can observe a more accurate judgement of percentage error from the algorithm, and it can be seen improving when the same set of parameters are generated.


For example, when a set of parameters is first generated, it thinks that the %error is -7%. But when the mass measured does not align with it, it generates the parameters again thinking that it gives 0.3%. When the mass is still a small margin away from the expected mass, it generates the parameters again and it gets closer and closer to the actual percentage error.

**4 April**

**Scaling: multiply, Order: unorderedT**

Although there are slow transfer time penalties, it decided to choose a set of parameters that are slow and accurate (within tolerance of 1000uL). On the other hand, the penalization worked for ver4 multiplication trials. It worked in the opposite direction, even suggesting parameters that are capable of transferring liquid of much higher viscosity.





## 

Diagram comparing human-driven and ML test trials (1275 cP, set:1, distributed)

